# 3 – Worksheets

## Example worksheets

Worksheet 3-1: Flowchart – 1

No.: 1	For: Water	Company: Cheers Beers Ltd

Additional information:	x   no	O   attached	Process description:	x   yes	O   no

Worksheet 3-2: Water data sheet

Balance scope: Entire company	Balance period: 2002	Company: Cheers Beers Ltd

| No. 1 | Water input | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |
| I-1 | Well water | 272 000 | m³ | Book-keeping, water meter |
|  |  |  | m³ |  |

| No. 1 | Water consumer | Quantity | Unit2 | % | Data source3/notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Washing water | 10 000 | m³ |  | Meter |
| 2 | Cleaning water | 117 500 | m³ |  | Calculated |
| 3 | Production water | 42 500 | m³ |  | Meter |
| 4 | Cooling water | 102 000 | m³ |  | Meter |
| 5 | Input wastewater treatment | 142 000 | m³ |  | Meter |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |

| No. 1 | Water output | Quantity | Unit2 | Notes |
| --- | --- | --- | --- | --- |
| O-1 | Wastewater discharge O direct X indirect | 244 000 | m³ | Important materials: alkaline solution, beer Important limit values: COD, BOD, T, pH Description of on-site wastewater treatment: Biological pre-treatment, Reduction of COD from approx. 1 000 mg/l to approx. 800 mg/l |
| O-2 | Water in spent grain | 3 000 | m³ | Calculated |
| O-3 | Sold beer | 25 000 | m³ | Book-keeping |

1 = Position no. from flowchart 3-1	2 = Balance in m³ not precise (general assumption: density 1 kg/l)
3 = EDP, books, routine measurement, own measurement, information from production, documentation of equipment, calculation, estimate, etc.

Worksheet 3-1: Flowchart – 2

No.: 2	For: Beer losses	Company: Cheers Beers Ltd

Additional information:	x   no	O   attached	Process description:	x   yes	O   no

Worksheet 3-3: Material tracing sheet

Material: Beer losses	Company: Cheers Beers Ltd

Balance scope: Storage tanks to filling line	Balance period: 2002

| No. 1 | Material input | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |
| I-1 | Beer after fermentation | 257 700 | hl |  |

| No. 1 | Beer losses by | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |
| 1 | Storage tank cleaning | 1 930 | hl | Approx. 25 % |
| 2 | Filtration | 1 700 | hl | Approx. 22 % |
| 3 | Underfilling | 920 | hl | Approx. 12 % |
| 4 | Broken bottles | 375 | hl | < 5 % |
| 5 | Cleaning of pipes | 2 700 | hl | Approx. 35 % |
| 6 | Product analysis/quality | 75 | hl | < 1 % |
|  | Total | 7 700 | hl | Beer losses in total approx. 3% |

| No. 1 | Material output | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |
| O-1 | Filled beer | 250 000 | hl |  |

1 = Position no. from flowchart 3-1	2 = Balance should be drawn up in kg (here: unit used in beer production: hl)
3 = EDP, books, routine measurement, own measurement, information from production, documentation of equipment, calculation, estimate, etc.

Worksheet 3-1: Flowchart – 3 (for data please refer to the worksheets of Volume 1)

No.: 3	For: Production process	Company: Cheers Beers Ltd

Additional information:	x   no  O   attached	Process description:	x   yes   O   no

## Empty worksheets

Worksheet 3-1: Flowchart

No.: 	For:	Company:

Additional information:	O   no	O   attached	Process description:	O   yes	O   no

Worksheet 3-2: Water data sheet

Balance scope:	Balance period:	Company:

| No. 1 | Water input | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |
|  |  |  | m³ |  |
|  |  |  | m³ |  |

| No. 1 | Water consumer | Quantity | Unit2 | % | Data source3/notes |
| --- | --- | --- | --- | --- | --- |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |
|  |  |  | m³ |  |  |

| No. 1 | Water output | Quantity | Unit2 | Notes |
| --- | --- | --- | --- | --- |
|  | Wastewater discharge O direct O indirect |  | m³ | Important materials: Important limit values: Description of on-site wastewater treatment: |
|  |  |  | m³ |  |
|  |  |  | m³ |  |

1 = Position no. from flowchart 3-1	2 = Balance in m³ not precise (general assumption: density 1 kg/l)
3 = EDP, books, routine measurement, own measurement, information from production, documentation of equipment, calculation, estimate, etc.

Worksheet 3-3: Material tracing sheet

Material:	Company:

Balance scope:	Balance period:

| No. 1 | Material input | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |

| No. 1 |  | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |

| No. 1 | Material output | Quantity | Unit2 | Data source3/notes |
| --- | --- | --- | --- | --- |

1 = Position no. from flowchart 3-1	2 = Balance should be drawn up in kg 
3 = EDP, books, routine measurement, own measurement, information from production, documentation of equipment, calculation, estimate, etc.

# Text boxes

O-2, O-3

Well water

O-1

I-1

1

Sanitary use

Washing area

O-2, O-3

O-2, O-3

Wastewater

Wastewater

treatment

2

Bottle cleaning

3

Production

4

Cooling

Water in beer, wet spent grain and diatomaceous earth

Cleaning:

NaOH,

Nitric acid,

Water

Mashing

Cleaning agent A-D,

Lactic acid

Disinfectant A,B,

Per acetic acid

Raw barley

Hops

Brewing

Wet used grains, vapor

Heat exchange

Quality control

Fermentation

Yeast treatment

Used yeast

Soaking

Cooling energy

Storage

Steam generator

Water treatment

Wastewater treatment

Heating oil

Germinating

Diatom. earth

Filtration

Diatom. earth

Compr. air, Cooling

Water

CO2-recovery

Electricity

Workshop, Laboratory

Chloric acid

Energy

Drying

Bottles, crown caps

Filling

Broken glass, reject

….

Steam

Pasteurization

Residual waste

Hazardous waste

Bottles

Spent oil

Labels,  glue

Labelling

Cardboard, plastics

Energy

Product reject

…

Caustic soda

Bottle cleaning

Water

Storage

Labels, wastewater

broken glass

Beer

Wastewater